Engineering Optics and Optical Techniques- Spring 2007

Lectuer Note 6 by Prof. Kenneth D. Kihm

Engineering Optics and Optical Techniques

Lecture Note No. 6  
Light Scattering and Polarization (Chapter 8)

(POLARIZATION = Orientation of transverse (E-field) oscillation, or plane-of-vibration.


[image: image1.wmf](

)

(

)

(

)

(

)

(

)

(

)

e

w

w

+

-

=

-

=

+

=

t

kz

cos

E

t

,

z

E

t

kz

cos

E

t

,

z

E

j

ˆ

t

,

z

E

i

ˆ

t

,

z

E

)

t

,

z

(

E

oy

y

ox

x

y

x


(For 
[image: image2.wmf]oy

ox

E

E

=

 and 
[image: image3.wmf]=

e

0 or 
[image: image4.wmf]p

2

±

, plane-polarized (P-State at +45(). 






(For 
[image: image5.wmf]oy

ox

E

E

=

 and 
[image: image6.wmf]=

e

 
[image: image7.wmf]p

±

, plane-polarized (P-State at -45().






(For 
[image: image8.wmf]oy

ox

E

E

=

 and 
[image: image9.wmf],

2

/

p

e

-

=

 right-circular polarized (R-State).



… Looking down the z-axis toward the origin, we see the E-field vector rotates clockwise as the wave advances toward the observer.







(For 
[image: image10.wmf]oy

ox

E

E

=

 and 
[image: image11.wmf],

/

2

p

e

+

=

left-circular polarized (L-State).






(For 
[image: image12.wmf]oy

ox

E

E

¹

, elliptically polarized (E-State)

*Natural Light: randomly polarized or unpolarized.

*Laser: highly (usually linearly) polarized.

POLARIZERS (Figs. 8.10 and 8.11)

Wire-grid polarizer: The y-component of the E-field drives the free electrons along the wire, which collide with atoms, heating the wire to be thermally diffused. The wire separation must be in the order of ( … impractical to manufacture and handle for visible spectrum, but useful for IR or microwave ranges. (Fig. 8.12)



Malus Law:




[image: image13.wmf](

)

(

)

(

)

(

)

q

q

q

q

cos

0

cos

0

2

E

E

I

I

=

=





Dichroic crystals: Specific atomic configuration of a crystal allows an optic axis, along which the parallel E-field passes, but the perpendicular E-field is absorbed. (ex. Tourmaline crystals, Fig. 8.13)








Polaroid sheet: Molecular analog of the wire grid. Most commonly used one.

BIREFRINGENCE: Optically Anisotropic material, i.e., directional variation of n
[image: image14.wmf](

)

w


(Model of optically anisotropic atom (Figs. 8.14 and 8.15)



[image: image15.wmf]e

o

m

k

=

w












(For the present model, 
[image: image16.wmf]z

y

x

k

k

k

=

>

 and 
[image: image17.wmf]oz

oy

ox

w

w

w

=

>

.  

(For a given 
[image: image18.wmf](

)

o

w

w

<

, 
[image: image19.wmf](

)

(

)

^

»

=

<

º

n

n

n

n

n

z

y

x

. Fig. 8.15


Thus, 
[image: image20.wmf]»

V

 (propagation speed of E-vector field parallel to the optic axis-x) 

> 
[image: image21.wmf]^

V

 (propagation speed of E-field perpendicular to the optic axis-y or z).



Ordinary wave “o”:


[image: image22.wmf]^

=

V

c

n

o


[E-vector perpendicular to the OA]



Extraordinary wave “e”:

[image: image23.wmf]»

=

V

c

n

e


[E-vector parallel to the OA]


Measure of birefringence:

[image: image24.wmf](

)

o

e

n

n

-

… either “+” or “-“ (Table 8.1 on p. 343)
Birefringence Crystal (e.g. calcite)

E-vector 
[image: image25.wmf]^

 Optic axis: “o” wave

[No change since no E-vector compt. is parallel to OA]

[No anisotropic effect]




E-vector has a parallel component to Optic axis: “e” wave


… results in separation of polarities










Optical (Phase) Retarders … 
[image: image26.wmf]2

l

-plate [rotates P-State by 90(]

 
[image: image27.wmf]4

l

-plate [convert P-State to R- or L-State]


(Calcite crystal of thickness d with 
[image: image28.wmf](

)

^

»

>

V

V

 and 
[image: image29.wmf](

)

)

6584

.

1

(

)

4864

.

1

(

o

e

n

n

<

=









(Phase differential between o- and e-waves:


[image: image30.wmf](

)

e

o

o

o

n

n

d

OPD

-

=

×

º

D

l

p

l

p

f

2

2



The Half-Wave plate (Fig. 8.38): 

[image: image31.wmf](

)

p

f

1

2

+

=

D

m


and 

[image: image32.wmf](

)

e

o

o

n

n

m

d

-

+

=

\

2

1

2

l



The Quarter-Wave plate (Fig. 8.40):

[image: image33.wmf](

)

2

1

4

p

f

+

=

D

m


and

[image: image34.wmf](

)

e

o

o

n

n

m

d

-

+

=

\

4

1

4

l




(Optical Compensator – a Controllable Retarders:
This device impresses variable phase differential 
[image: image35.wmf]f

D









[image: image36.wmf](

)

e

o

o

n

n

d

-

=

D

1

1

2

l

p

f



and 


[image: image37.wmf](

)

e

o

o

n

n

d

-

-

=

D

2

2

2

l

p

f





[image: image38.wmf]\

Overall phase differential is:





[image: image39.wmf](

)

e

o

o

n

n

d

d

-

-

=

D

+

D

=

D

2

1

2

1

2

l

p

f

f

f


POLARIZATION BY REFLECTION
e-dipole does not radiate in the direction parallel to its oscillation direction. If the dipole oscillation of the refracted ray is directed parallel to the reflected ray, the reflected ray does not carry the polarity component in its own ray direction, i.e.,










Snell’s law:

[image: image40.wmf]t

t

i

i

n

n

q

q

sin

sin

=







[image: image41.wmf]p

t

q

q

-

=

o

90

 








[image: image42.wmf]i

t

p

n

n

1

tan

-

=

\

q

 … Brewster’s angle

The same conclusion is made by considering the Amplitude Reflection Coefficient for the E-field parallel to the plane of incidence, Eq. (4.43) and Fig. (4.41),



[image: image43.wmf](

)

(

)

0

tan

tan

®

+

-

=

»

t

i

t

i

r

q

q

q

q


Since 
[image: image44.wmf]t

i

q

q

¹

,  
[image: image45.wmf]2

p

q

q

=

+

t

i



or 

[image: image46.wmf]i

t

p

i

n

n

1

tan

-

=

=

\

q

q


STOKES VECTOR DESCRIPTION OF BEAM POLARIZATION

(Natural or randomly polarized light can be decomposed into two primary components, i.e., 


[image: image47.wmf](

)

[

]

(

)

[

]

j

t

kz

E

i

t

kz

E

E

E

E

y

oy

x

ox

y

x

ˆ

cos

ˆ

cos

e

w

e

w

+

-

+

+

-

=

+

=

r

r

r


(Definition of Stokes Parameter


[image: image48.wmf]2

2

0

oy

ox

E

E

S

+

=



[image: image49.wmf]2

2

1

oy

ox

E

E

S

-

=



[image: image50.wmf]e

cos

2

2

oy

ox

E

E

S

=



[image: image51.wmf]e

sin

2

3

oy

ox

E

E

S

=



where 
[image: image52.wmf]x

y

e

e

e

-

=

.

Normalized by
[image: image53.wmf]0

S

, then, for example, for an unpolarized beam;
vertical P-state (
[image: image54.wmf]0

=

ox

E

);

[image: image55.wmf]1

0

=

S








[image: image56.wmf]1

0

=

S






[image: image57.wmf]1

0

=

S



[image: image58.wmf]2

2

2

2

1

oy

ox

oy

ox

E

E

E

E

S

+

-

=






[image: image59.wmf]0

1

=

S






[image: image60.wmf]1

1

-

=

S



[image: image61.wmf]2

2

2

cos

2

oy

ox

oy

ox

E

E

E

E

S

+

=

e






[image: image62.wmf]0

2

=

S






[image: image63.wmf]0

2

=

S



[image: image64.wmf]2

2

3

sin

2

oy

ox

oy

ox

E

E

E

E

S

+

=

e






[image: image65.wmf]0

3

=

S






[image: image66.wmf]0

3

=

S


(Degree of Polarization



[image: image67.wmf](

)

0

2

/

1

2

3

2

2

2

1

S

S

S

S

V

+

+

=



= 1 for completely polarized (all in Table 8.5)







= 0 for randomly polarized.

Stokes vector 
[image: image68.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

3

2

1

0

S

S

S

S

, carries complete information on E-field components and polarization. The vector is superposable since it represents scalar intensity magnitudes. See Table 8.5 for the list of Stokes vectors.

MUELLER MATRIX DESCRIPTION OF POLARIZERS

Table 8.6 for list of Mueller matrices.

(Horizontal linear polarizer passes only horizontal P-state E-field.


[image: image69.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

0

0

1

1

0

0

1

1

0

0

0

0

0

0

0

0

0

0

1

1

0

0

1

1

2

1




[image: image70.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

0

0

0

0

0

0

1

1

0

0

0

0

0

0

0

0

0

0

1

1

0

0

1

1

2

1


(Linearly polarized E-field that is either parallel or perpendicular to the fast axis of a quarter wave plate remains unchanged.


[image: image71.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

0

0

1

1

0

0

1

1

0

1

0

0

1

0

0

0

0

0

1

0

0

0

0

1




[image: image72.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

0

0

1

1

0

0

1

1

0

1

0

0

1

0

0

0

0

0

1

0

0

0

0

1


(Incident E-field at 45( w.r.t. the fast axis of a quarter wave plate comes out as a circular polarized E-field.


[image: image73.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

1

0

0

1

0

1

0

1

0

1

0

0

1

0

0

0

0

0

1

0

0

0

0

1

 … L-state

Example

Imagine that we pass a unit-irradiance unpolarized wave through a linear horizontal polarizer. Determine the Stokes vector of the emerging wave.


[image: image74.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

0

0

1

1

2

1

0

0

2

1

2

1

0

0

0

1

0

0

0

0

0

0

0

0

0

0

1

1

0

0

1

1

2

1

3

2

1

0

/

/

S

S

S

S

 … Horizontal P-state with ½ irradiance

JOHNS VECTORS (Beam Polarization) AND MATRICES (Polarizers): 

Simpler forms applicable for already polarized light

(John’s Vectors:


[image: image75.wmf]ú

ú

û

ù

ê

ê

ë

é

=

ú

û

ù

ê

ë

é

=

y

x

i

oy

i

ox

y

x

e

E

e

E

E

E

E

f

f


For 
[image: image76.wmf]oy

ox

E

E

=

and 
[image: image77.wmf]y

x

f

f

=

,


[image: image78.wmf]ú

û

ù

ê

ë

é

=

1

1

x

i

ox

e

E

E

f


Therefore, with normalization, 

[image: image79.wmf]ú

û

ù

ê

ë

é

=

1

1

2

1

45

E

, 
[image: image80.wmf]ú

û

ù

ê

ë

é

=

0

1

h

E

, and 
[image: image81.wmf]ú

û

ù

ê

ë

é

=

1

0

v

E

.

Similarly,

[image: image82.wmf]ú

û

ù

ê

ë

é

-

=

i

E

R

1

2

1

 and 
[image: image83.wmf]ú

û

ù

ê

ë

é

=

i

E

L

1

2

1



(See Table 8.5)

These vectors can be superposed since they represent the vector components of E-fields. For example, 
[image: image84.wmf]ú

û

ù

ê

ë

é

=

+

0

1

2

2

L

R

E

E

, i.e., the superposition of R- and L-states generates a horizontal P-state having an amplitude twice that of either.

( Mueller Matrices (see Table 8.6)


[image: image85.wmf]i

t

AE

E

=

 and Johns matrix
[image: image86.wmf]ú

û

ù

ê

ë

é

=

22

21

12

11

a

a

a

a

A


Example:

What will be Et for Ei, representing P-state at +45(, which passes through a quarter-wave plate whose fast axis (the axis parallel to the smaller n) is vertical?


[image: image87.wmf]ú

û

ù

ê

ë

é

-

=

ú

û

ù

ê

ë

é

ú

û

ù

ê

ë

é

-

=

i

e

i

e

E

/

i

/

i

t

1

2

1

1

2

1

0

0

1

4

4

p

p

 … R-state

Homework #7: E-o-C Problems 8.9, 8.35, 8.41, 8.46, 8.54, 8.56, and 8.58

(Due by March 20, 2006 – also due for the Take-Home Midterm Exam I)
d





Optic Axis








1
12

_1044335915.unknown

_1076134306.unknown

_1076138782.unknown

_1107519562.unknown

_1203330314.unknown

_1203431152.unknown

_1159633192.unknown

_1159633199.unknown

_1159633207.unknown

_1159633181.unknown

_1076339869.unknown

_1076340899.unknown

_1107517602.unknown

_1107517611.unknown

_1107517332.unknown

_1076340935.unknown

_1076340595.unknown

_1076340811.unknown

_1076340532.unknown

_1076321534.unknown

_1076321885.unknown

_1076322442.unknown

_1076321583.unknown

_1076139663.unknown

_1076135290.unknown

_1076138623.unknown

_1076138776.unknown

_1076138447.unknown

_1076134990.unknown

_1076135017.unknown

_1076134756.unknown

_1044703147.unknown

_1044703926.unknown

_1044704159.unknown

_1044704279.unknown

_1044704463.unknown

_1044704917.unknown

_1044704955.unknown

_1044704328.unknown

_1044704194.unknown

_1044703995.unknown

_1044704122.unknown

_1044703952.unknown

_1044703197.unknown

_1044703358.unknown

_1044703797.unknown

_1044703207.unknown

_1044703169.unknown

_1044703177.unknown

_1044703160.unknown

_1044680742.unknown

_1044681526.unknown

_1044702859.unknown

_1044702895.unknown

_1044703099.unknown

_1044702876.unknown

_1044702736.unknown

_1044681440.unknown

_1044681469.unknown

_1044681308.unknown

_1044336928.unknown

_1044680627.unknown

_1044680691.unknown

_1044337001.unknown

_1044336802.unknown

_1044336858.unknown

_1044336625.unknown

_1044274557.unknown

_1044276900.unknown

_1044335785.unknown

_1044335873.unknown

_1044335752.unknown

_1044275746.unknown

_1044276881.unknown

_1044275333.unknown

_1044263153.unknown

_1044274378.unknown

_1044274428.unknown

_1044273793.unknown

_1044262624.unknown

_1044262919.unknown

_1044262599.unknown

