2007 Spring, Engineering Optics and Optical Techniques

Lecture Note No. 9 by Professor Kenneth D. Kihm

Engineering Optics and Optical Techniques

Lecture Note No. 8

Fraunhofer Diffraction and Diffraction Gratings (Ch. 10)





Fresnel Diffraction (Ch. 10)
Shadow in geometrical optics (left) and, more correctly, in wave optics (right).

[image: image104.wmf]min

q






                                                                                


Huygen’s Principle – wave propagation principle: 
Every unobstructed point of a wavefront, at a given instant, serves as a source of spherical secondary wavelets (with the same frequency as that of the primary wave). 

*If the wavelength is large compared to the aperture or an object, the waves will spread out at large angles into the region beyond the obstruction.


(Sound waves

** If the wavelength is small compared to the aperture or an object, the waves will not spread and creates a shadow region beyond the obstruction.



(Light waves

Fresnel’s Principle – diffraction principle:

The amplitude of the optical field at any point beyond is the superposition of all these wavelets (considering their amplitudes and relative phases).

Far-Field Diffraction: Fraunhofer 
Diffraction


[image: image1.wmf](

)

l

/

a

R

2

>



Near-Field Diffraction: Fresnel Diffraction


[image: image2.wmf](

)

l

/

a

R

2

<


CIRCULAR APERTURE (radius a)


Airy function: 

[image: image3.wmf](

)

(

)

(

)

2

1

sin

sin

2

0

ú

û

ù

ê

ë

é

=

q

q

q

ka

ka

J

I

I




















[image: image4.wmf](

)

(

)

0

I

/

I

q
















[image: image5.wmf]q

sin

ka


Airy disk is sized by 


[image: image6.wmf]83

.

3

2

sin

=

@

R

q

a

ka

l

p

q


The radius of the brightest center spot 
[image: image7.wmf]D

f

a

R

a

R

q

l

l

l

p

22

.

1

2

22

.

1

2

83

.

3

=

=

=

 decreases with increasing aperture diameter D, and increases with increasing wavelength 
[image: image8.wmf]l

.
DIFFRACTION-LIMITED IMAGING

The aperture diameter is analogous to the lens diameter for imaging or collimating parallel beam. The Airy ring is considered as the focal point image, which is formed by Fraunhofer diffraction principle. The central maximum of one Airy ring image coincides with the first minimum of the other, resolution is marginal. [Rayleigh’s criterion]









Thus, the resolution limit,  
[image: image9.wmf]NA

D

f

radius

disk

Airy

l

l

l

22

.

1

22

.

1

min

»

=

»

  and  
[image: image10.wmf]D

l

q

22

.

1

min

=



(
[image: image11.wmf]min

l

 decreases with decreasing f and 
[image: image12.wmf]l

, and with increasing D.

Example:

DIFFRACTION GRATINGS for Spectrometer/Monochromator

Diffraction by many (N) slits (Section 10.2.3), 









[image: image13.wmf](

)

2

2

÷

ø

ö

ç

è

æ

÷

÷

ø

ö

ç

ç

è

æ

=

a

a

b

b

q

sin

N

sin

sin

I

I

o





where dimensionless separation, 
[image: image14.wmf]q

l

p

a

sin

a

=

 and dimensionless slit width, 
[image: image15.wmf]q

l

p

b

sin

b

=

.

The first parentheses term is the square of sinc function shown in Fig. 10.10, which represents the slit width effect, and the second parenthesis also modulates representing multiple slit effects as shown in Fig. 10.17.

The modulation by multiple slits, the second parentheses term, becomes zero or minimum contribution whenever




[image: image16.wmf]÷

ø

ö

ç

è

æ

=

=

N

k

or

k

N

p

a

p

a

,  k = 1, 2, 3, … 

Except when

[image: image17.wmf],...

,

,

p

p

a

2

0

=

 or k  =  0, N, 2N, … , mN


(The second term = 1.0: Principal Maxima)

Thus, between any two adjacent maxima, N-1 minimum intensity points exist.

The Principal Maxima condition is




[image: image18.wmf]p

q

l

p

a

m

sin

a

=

=

  and 

[image: image19.wmf]l

q

m

sin

a

=


 (refer to Fig. 10.16)

Monochrometer/Spectrometer Principle


Diffraction grating equation: 
[image: image20.wmf]m

a

m

sin

a

q

l

q

»

=

 


Therefore, Principal Maxima occurs at 
[image: image21.wmf]a

m

~

m

l

q

, and the PM becomes more distinct with larger N or N/unit length (or smaller slit separation a). Note that 
[image: image22.wmf]m

q

 increases with increasing 
[image: image23.wmf]l

 and the local peaks will be more distinctive with larger N.


The angular dispersion of spectrometer is given as,



[image: image24.wmf]a

m

~

d

d

m

l

q

  … Spectrometer resolution increases with increasing m and decreasing a.

Schematic of Spectrometer










Resolvance of Spectrometer

Resolvance:

[image: image25.wmf]Nm

=

l

D

l



Resolution: 
[image: image26.wmf]Nm

1

=

l

l

D



Principal maximum of the m-th order is given for the first wave 
[image: image27.wmf](

)

l

 and the second wave 
[image: image28.wmf](

)

l

D

l

+

, respectively, as





[image: image29.wmf](

)

l

D

l

q

l

q

+

=

=

m

sin

a

m

sin

a




(1)

The resolvance will be limited when the PM of the second wave overlaps with the first dark band of the first wave, i.e., 




[image: image30.wmf]p

q

l

p

÷

ø

ö

ç

è

æ

+

=

N

m

sin

a

1




(2)

Combining (1) and (2) gives an expression for the resolution as,




[image: image31.wmf]Nm

1

=

l

l

D


and the resolvance, the reciprocal of the resolution, is given as 



[image: image32.wmf]Nm

=

l

D

l


Ex.1:
When looking through a diffraction grating at a hydrogen discharge tube, which emits light of 656 nm wave length, we see two red lines, to either side of the zeroth order. If at a distance of 90 cm from the grating, the two lines are separated by 62.5 cm, how many lines per millimeters does the grating have?

Ex. 2
The sodium D doublet has wavelength of 589 nm and 589.6 nm. If only a grating with 400 rulings/mm is available, what is the lowest order possible in which the D lines are resolved?

Obliquity or Inclination Factor K(
[image: image33.wmf]q

) … Prelude to Fresnel or near-field Diffraction

* Spherical wave front should be considered since the length scale from the light source to the aperture may be relatively small, whereas planar waves were considered for Fraunhofer diffraction because of larger length scales.






The optical disturbance at 
[image: image34.wmf]r

(t = t’), created by the source S, is described as a harmonic spherical wave, i.e., 


[image: image35.wmf](

)

r

w

r

e

r

k

'

t

cos

E

o

-

=

 

and the disturbance at P (t = t) resulting from a source element dS on the spherical wave front is, therefore,






[image: image36.wmf](

)

[

]

(

)

dS

r

k

t

cos

r

K

dE

A

P

+

-

×

=

r

w

e

q


Kirchhoff formulation (Sec. 10.4) gives

[image: image37.wmf](

)

(

)

q

q

cos

K

+

=

1

2

1



= 1 at 
[image: image38.wmf]q

 = 0











= 0 at 
[image: image39.wmf]q

 = 
[image: image40.wmf]p



[image: image41.wmf](

)

1

»

q

K


for Fraunhofer Diffraction



(
[image: image42.wmf]0

»

q

 since 
[image: image43.wmf]P

S

>>1)

(Fresnel Diffraction

Optical Disturbance (E-Field) Generated by Unobstructed Spherical Wavefront






E-field at the wave front at t = t’ is given as

[image: image44.wmf](

)

r

w

r

e

r

k

'

t

cos

E

o

-

=

, 

[image: image45.wmf]o

e

: source strength

The contribution of the optical disturbance at P from the spherical wave front of dS is given as


[image: image46.wmf](

)

(

)

[

]

dS

r

k

t

cos

r

K

dE

A

+

-

=

r

w

e

q



[image: image47.wmf]A

e

: source strength per unit area at the wave front 
(1)



where the obliquity K is assumed constant over a single Fresnel zone.

The geometrical analysis (p. 487) shows 

[image: image48.wmf](

)

rdr

r

dS

o

+

=

r

r

p

2



(2)

Carrying out the integral of dE, Eq. (1), with dS, Eq. (2), for the l-th Fresnel zone [
[image: image49.wmf]l

l

r

,

r

1

-

; 
[image: image50.wmf]l

K

] gives



[image: image51.wmf](

)

(

)

(

)

[

]

o

o

A

l

l

l

r

k

t

sin

r

K

E

+

-

+

-

=

+

r

w

r

rl

e

2

1

1



(3)



where the E-field has alternative signs.

Successively it can be shown (p. 488) that 




[image: image52.wmf]2

1

2

1

E

E

...

E

E

E

m

»

+

+

+

=


Thus, the disturbance synthesized from secondary wavelets is given frim Eq. (3) as,





[image: image53.wmf](

)

(

)

[

]

o

o

A

r

k

t

sin

r

K

E

+

-

+

=

r

w

r

rl

e

1


Alternatively, considering the wave directly propagating from S to P, the resulting disturbance is expressed as,





[image: image54.wmf]

 EMBED Equation.3  [image: image55.wmf](

)

(

)

[

]

o

o

o

r

k

t

cos

r

E

+

-

+

=

r

w

r

e


*By equating these two with 
[image: image56.wmf]1

K

~ 1, we have 
[image: image57.wmf](

)

l

r

rl

e

e

1

×

=

=

o

o

A

E

. 

*The 
[image: image58.wmf]2

/

p

 phase differential between the two (their cosine and sine modulations) reflects that the secondary sources re-radiate one-quarter of a wavelength out-of-phase with the primary wave.

The Vibration Curve

Considering the first Fresnel zone to be divided by N-subzones, each subzone phasor is shifted by 
[image: image59.wmf]N

/

p

 rad since the phase difference across the entire zone, from O to its edge, is 
[image: image60.wmf]p

 rad (corresponding to 
[image: image61.wmf]2

/

l

).




[image: image62.wmf](

)

(

)

[

]

dS

r

k

t

cos

r

K

dE

A

+

-

=

r

w

e

q





Phase: 
[image: image63.wmf]f

l

p

D

=

=

r

kr

2

 
with 
[image: image64.wmf]p

f

D

<

<

0







The chain of phasors (Fig. 10.39) deviates slightly inward from the circle because 
[image: image65.wmf]q

 increases and the obliquity factor gradually shrinks at each successive amplitude.

The whole curve will be a smooth spiral curve with 
[image: image66.wmf]¥

®

N

 (Fig. 10.40).

The spiral ends at the mid-point of 
[image: image67.wmf]1

E

since the total disturbance arriving at P from an unobstructed spherical wave is 1/2
[image: image68.wmf]1

E

.

Circular Apertures

Spherical wavefront should be considered since the lengthscale from the light source to the aperture may be relatively small.

A circular aperture is identical to an obstructed spherical wave by a screen containing a small hole (Fig. 10.42).

E at P ranges from ~0 to 
[image: image69.wmf]1

E

 as qualitativly shown in the vibration curve. 

The whole diffraction pattern can be mapped as the sensor is moved around (Fig. 10.43).

Integration of 
[image: image70.wmf](

)

rdr

r

dS

o

+

=

r

r

p

2

 for an l-th Fresnel zone 
[image: image71.wmf](

)

[

]

2

1

2

1

/

l

r

r

,

/

l

r

r

o

l

o

l

l

l

-

+

=

+

=

-

 gives the area of each zone as 






[image: image72.wmf](

)

l

p

r

r

o

o

l

r

r

S

+

=

 … constant for all the zones.

and the number of zones for the aperture of radius R is






[image: image73.wmf](

)

l

r

r

p

o

o

l

f

r

R

r

S

R

N

2

2

+

=

=

 … increases with 
[image: image74.wmf]2

R

.

(Since the number of zones increases with the aperture size, the diffraction patterns show more number of ring-like modes with increasing aperture size. (p. 493)

Circular Obstacle

If the circular or spherical obstacle obscures the first l zones, the resulting disturbance at P along the optical axis is given (similar to the unobstructed case),






[image: image75.wmf]2

1

+

»

l

E

E



(See Fig. 10.45)

Rectangular Aperture







The freely propagating spherical wave from the source to the aperture, via dS, is given as


[image: image76.wmf](

)

(

)

[

]

(

)

(

)

[

]

dS

r

k

t

cos

r

K

dS

r

k

t

cos

r

K

dE

o

A

p

+

-

=

+

-

=

r

w

rl

e

q

r

w

e

q


recalling 
[image: image77.wmf](

)

l

r

rl

e

e

1

×

=

=

o

o

A

E

 from p. 10.

Using the derivation and magic (!) shown in p. 498, the irradiance at P is given as


[image: image78.wmf](

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

{

}

2

1

2

2

1

2

2

1

2

2

1

2

4

2

1

v

S

v

S

v

C

v

C

u

S

u

S

u

C

u

C

I

E

~

E

~

I

o

*

p

p

p

-

+

-

´

-

+

-

=

=



[image: image79.wmf](

)

o

o

o

p

r

z

z

y

y

I

e

r

l

,

,

,

:

,

,

,

2

1

2

1

=


where

[image: image80.wmf]o

I

 is the unobstructed irradiance at P, 
[image: image81.wmf]2

1

2

/

o

r

y

u

÷

÷

ø

ö

ç

ç

è

æ

=

l

 and  
[image: image82.wmf]2

1

2

/

o

r

z

v

÷

÷

ø

ö

ç

ç

è

æ

=

l

.

The Fresnel integrals (Table 10.2) are defined as



[image: image83.wmf](

)

(

)

ò

º

w

'

dw

/

'

w

cos

w

C

0

2

2

p


and 

[image: image84.wmf](

)

(

)

ò

º

w

'

dw

/

'

w

sin

w

S

0

2

2

p





where 
[image: image85.wmf](

)

(

)

w

C

w

C

-

=

-

, 
[image: image86.wmf](

)

(

)

w

S

w

S

-

=

-

, and 
[image: image87.wmf](

)

(

)

5

0

.

w

S

lim

w

C

lim

w

w

=

=

¥

®

¥

®


Example: For a 2-mm square aperture, 
[image: image88.wmf]l

 = 500 nm, OP = 4m, calculate the intensity at P(0,0) and P’(-0.1 mm,0).

[image: image89.wmf](

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

{

}

2

1

2

2

1

2

2

1

2

2

1

2

4

1

v

S

v

S

v

C

v

C

u

S

u

S

u

C

u

C

I

I

o

p

-

+

-

´

-

+

-

=



[image: image90.wmf]2

1

2

/

o

r

y

u

÷

÷

ø

ö

ç

ç

è

æ

=

l

, 
[image: image91.wmf]2

1

2

/

o

r

z

v

÷

÷

ø

ö

ç

ç

è

æ

=

l



[image: image92.wmf](

)

(

)

w

C

w

C

-

=

-

, 
[image: image93.wmf](

)

(

)

w

S

w

S

-

=

-

, and 
[image: image94.wmf](

)

(

)

5

0

.

w

S

lim

w

C

lim

w

w

=

=

¥

®

¥

®







Cornu Spiral (Fig. 10.50)



The arc length measured along the curve, dl, is equal to dw.

Recalling


[image: image95.wmf](

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

2

2

1

2

2

1

2

1

2

2

1

2

2

1

2

2

1

2

*

4

4

~

~

2

1

v

v

u

u

o

o

p

p

p

v

iS

v

C

u

iS

u

C

I

v

S

v

S

v

C

v

C

u

S

u

S

u

C

u

C

I

E

E

I

+

+

=

-

+

-

´

-

+

-

=

=


Fresnel Diffraction by a Slit










( = 500 nm









ro = 4 m














[image: image96.wmf]¥

®

-¥

®

2

1

y

,

y



[image: image97.wmf](

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

2

2

1

2

2

1

2

1

2

2

1

2

2

1

2

2

1

2

4

4

v

v

u

u

o

o

p

v

iS

v

C

u

iS

u

C

I

v

S

v

S

v

C

v

C

u

S

u

S

u

C

u

C

I

I

+

+

=

-

+

-

´

-

+

-

=


For 
[image: image98.wmf]¥

»

-¥

»

2

1

u

,

u

, the first term becomes 2, and 


[image: image99.wmf](

)

(

)

[

]

2

2

1

2

v

v

o

p

v

iS

v

C

I

I

+

=


…  see Fig. 10.54

Semi-Infinite Opaque Screen: 
[image: image100.wmf]¥

=

=

=

2

1

2

y

y

z

, i.e., 
[image: image101.wmf]¥

=

=

2

2

u

v

 and 
[image: image102.wmf]-¥

=

1

u









[image: image103.wmf](

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

[

]

(

)

(

)

[

]

{

}

(

)

(

)

(

)

(

)

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

û

ù

ê

ë

é

-

+

ú

û

ù

ê

ë

é

-

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

û

ù

ê

ë

é

-

+

ú

û

ù

ê

ë

é

-

´

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

û

ù

ê

ë

é

÷

ø

ö

ç

è

æ

-

-

+

ú

û

ù

ê

ë

é

÷

ø

ö

ç

è

æ

-

-

=

-

+

-

´

-

+

-

=

=

2

1

2

1

2

1

2

1

2

2

2

1

2

2

1

2

2

1

2

2

1

2

2

1

2

1

2

2

1

2

1

2

1

2

1

2

1

2

1

4

4

2

1

v

S

v

C

I

v

S

v

C

I

v

S

v

S

v

C

v

C

u

S

u

S

u

C

u

C

I

E

~

E

~

I

o

o

o

*

p

p

p


(Homework Assignment #9

E-o-C problems: Ch. 10-25, 28, 51, 52, 54, 

and the following three special problems.
SP-1:
A grating has 8000 slits ruled across a width of 4 cm. What is the color of the light whose two fifth-order maxima are 90( apart?

SP-2:
Collimated light containing the wavelengths 600 nm and 610 nm is diffracted by a plane grating ruled with 60 lines to the millimeter. If a lens of 2 m focal length is used to focus the light on a screen, what is the linear distance between these two lines in the first order?

SP-3:
The spectrum of mercury contains, among others, a blue line of 435.8 nm and a green line of 546.1 nm. If these two lines are to have an angular separation of at least 7(, and if the grating available has 500 lines/mm, in which order must the grating be used?

Due by April 10, 2006
Aperture or lens





Image plane





a





D





R





q





I(0)





I(()





(





3.83





7.02





f





lmin





� EMBED Equation.3  ���





a: slit separation





b: slit width





P





P’








1
1

_1077981461.unknown

_1109236450.unknown

_1109252480.unknown

_1109253209.unknown

_1109339019.unknown

_1204538336.unknown

_1204538404.unknown

_1204538997.unknown

_1109339952.unknown

_1160680840.unknown

_1160680858.unknown

_1160611631.unknown

_1109339503.unknown

_1109338468.unknown

_1109338761.unknown

_1109338805.unknown

_1109338826.unknown

_1109338530.unknown

_1109253379.unknown

_1109338303.unknown

_1109253259.unknown

_1109252600.unknown

_1109252612.unknown

_1109253139.unknown

_1109252605.unknown

_1109252593.unknown

_1109252597.unknown

_1109252547.unknown

_1109252113.unknown

_1109252187.unknown

_1109252280.unknown

_1109252150.unknown

_1109251924.unknown

_1109251954.unknown

_1109251829.unknown

_1109234679.unknown

_1109235622.unknown

_1109236064.unknown

_1109236174.unknown

_1109235754.unknown

_1109235004.unknown

_1109235598.unknown

_1109235315.unknown

_1109234715.unknown

_1078161202.unknown

_1078164270.unknown

_1078167619.unknown

_1078209009.unknown

_1078209329.unknown

_1078209727.unknown

_1078209037.unknown

_1078208967.unknown

_1078166334.unknown

_1078167425.unknown

_1078166260.unknown

_1078166046.unknown

_1078166090.unknown

_1078165834.unknown

_1078162842.unknown

_1078163483.unknown

_1078163600.unknown

_1078162937.unknown

_1078161387.unknown

_1078162385.unknown

_1078161337.unknown

_1077983127.unknown

_1078158534.unknown

_1078158994.unknown

_1078160714.unknown

_1077983680.unknown

_1077983696.unknown

_1078158359.unknown

_1077983157.unknown

_1077983191.unknown

_1077983148.unknown

_1077982787.unknown

_1077983010.unknown

_1077981499.unknown

_1045836198.unknown

_1077972528.unknown

_1077972607.unknown

_1077972624.unknown

_1077974352.unknown

_1077971985.unknown

_1077972003.unknown

_1077972053.unknown

_1045836429.unknown

_1045837188.unknown

_1045643850.unknown

_1045834558.unknown

_1045834623.unknown

_1045643863.unknown

_1045640349.unknown

_1045642986.unknown

_1045239895.unknown

